|  | INSTALLATION The manhole frame shall be cleaned of all dirt and debris before placing the manhole insert on the rim. The manhole insert shall be fully seated around the manhole frame rim to prevent water from infiltrating between the cover and the manhole frame rim. ORDERING CRITERIA To insure proper fit, dishes are manufactured to specific measurements provided by the purchaser. These measurements are obtained according diagrams. |
| --- | --- |